## Disclaimer
Disclaimer for European Parliament Pilot Project – European Green Digital Coalition (EGDC) Case Studies
The following disclaimer is intended to provide clarity and context for the case studies prepared as part of the Phase 2 - EGDC Moves to Action, which have showcased the net carbon impact of specific digital solutions using the EGDC ICT Methodology developed during the project:
1. Purpose of the Case Studies:
The case studies served multiple purposes, including:
1. Development of the Methodology: They contributed to the development of the EGDC ICT Methodology. These case studies were conducted concurrently with the methodology's creation and served as a valuable testing ground for its initial formulation.
2. Application Examples: They provided practical examples of how the methodology can be applied to real-life use cases. These case studies were essential in demonstrating the practicality and effectiveness of the methodology when applied to concrete situations.
3. Identification of Improvement Areas: By conducting these case studies, we aimed to highlight parts of the calculation in need of improvement. They shed light on the challenges and limitations inherent in using available data and indicated the necessary steps to move towards best practices in assessing net carbon impacts.
2. Data Quality as a Key Determinant:
It is imperative to emphasize that data quality is a fundamental determinant of the quality and reliability of the case studies. The accuracy and completeness of the data used significantly influence the outcomes and findings of these case studies.
It is essential to acknowledge that the data available for each case study may differ in terms of accuracy, granularity, and coverage. As a result, the case studies may not necessarily represent the best practice application of the EGDC ICT Methodology. Instead, they reflect the application of the methodology at various stages of data availability.
3. Liability for Errors/Omissions:
While reasonable steps have been taken to ensure that the information contained within the case studies is correct, the EGDC gives no warranty and makes no representation as to its accuracy. We accept no liability for any errors or omissions that may be present in the case studies, methodology, or related information. Users and readers are advised to exercise their judgment and seek further clarification if needed, as the information provided may evolve over time and depend on external factors beyond our control.
4. Appropriate Use of the Case Study Calculators:
The case study calculators are intended for educational and informational purposes. They rely on certain assumptions and input data to generate results.
The results of the calculators are specific to the implementation of the ICT solution and may not be representative for other implementation contexts.
As such, it is imperative for users to refrain from directly extrapolating these results to ICT solutions or implementation contexts that may seem conceptually similar.
Instead, users are advised to use the calculators as a means to understand the practical application of the EGDC ICT Methodology, thereby equipping themselves with the knowledge required to develop customized calculators specifically tailored to their unique ICT solutions and implementation circumstances.
In conclusion, these case studies provide valuable insights into the calculation of the net carbon impact of digital solutions through the practical application of the EGDC ICT Methodology. However, it is vital to exercise caution when interpreting the results, considering the variances in data quality and the evolving nature of the methodology. The findings are indicative of the methodology's potential and its room for refinement as we work towards more accurate and comprehensive assessments of net carbon impacts.

## Calculator
Overview
Description: IBM LinuxONE is an enterprise-grade server designed to replace large numbers of conventional x86 servers as it can deliver the same computational workload on significantly fewer cores, reducing overall energy consumption and associated GHG emissions. Both the reference and solution scenario are located in IBM's office in Poughkeepsie, N.Y.
Scenarios
Reference Scenario(s)
In the reference scenario, delivering the equivalent compute power uses 126 x86 servers with 5,376 cores.
Solution Scenario(s)
In the solution scenario, a single IBM LinuxONE Emperor 5 Max is used with 136 cores, delivering the equivalent computation power to 126 x86 servers in the reference scenario. By running the same workloads on significantly fewer cores, the solution reduces the overall energy consumption, power consumption, and carbon emissions.
Functional Unit
per delivery of the reference ICT workload to the same service level (SLA) over the study period
Context
Implementation Context
Country | United States of America
Server Location | Poughkeepsie, NY.
Time period for the assesment (years) | 5
Inputs
Required Inputs
Baseline Annual Electricity Consumption (production & Non-production environments) - measured -kWh/year | 495932
Scenario Annual Electricity Consumption (production & Non-production environments) - measured -kWh/year | 43144
Optional Adjustments
| Defaults | Manual Override (add value)
Grid Emissions Factor (kgCO2e/kWh) | 0.314
Manufacturing emissions (kgCO2e) | 31100
Upstream Transportation emissions (kgCO2e) | 40
Non-electricity Use-Phase Emissions (kgCO2e) | 122200
Share of IBM LinuxONE compute used | 100%
Results
Annual Energy Consumption from servers before the LinuxONE solution was implemented | 495932 | kWh/year
Annual Energy Consumption from servers after the LinuxONE solution was implemented | 43144 | kWh/year
Total Energy Consumption from servers before the LinuxONE solution was implemented | 2479660 | kWh/5 years
Total Energy Consumption from servers after the LinuxONE solution was implemented | 215720 | kWh/5 years
Cradle-to-gate GHG emissions of the IBM LinuxONE Emperor 5 server (First-order effects) | 85.6039 | tCO2e
% of energy savings through use of solution | -91.3% | %
Total carbon savings enabled | -624.7832 | tCO2e/5 years
Carbon savings enablement factor | -624.7832 | tCO2e/per delivery of the reference ICT workload to the same service level (SLA) over the study period
Uncertainty Analysis Results
Total carbon savings enabled (lower range) | -364.3489 | tCO2e / 5 years
Total carbon savings enabled (higher range) | -1057.7179 | tCO2e / 5 years
Note on C33: 100% of IBM LinuxONE compute power is used in this case study, meaning we account for all cradle-to-gate emissions. If not all compute power is required to achieve same ICT workload, adjust the percentage here.

## Backend
Inputs |  |  |  | Calculation
Defaults | Explanation/Notes | Unit | Value | Reference Scenario
Baseline Annual Electricity Consumption (production & Non-production environments) - measured | Reference Scenario energy consumption | kWh/year | 495932 | Calculation Step | Formula (Written Out) | Dimensional Analysis | Unit | Value
Scenario Annual Electricity Consumption (production & Non-production environments) - measured | Solution Scenario energy consumption | kWh/year | 43144 | Annual Emissions in reference scenario | Baseline Annual Electricity Consumption (production & Non-production environments) - measured x Grid Emissions Factor | kWh * Grid EF (kgCO2e/kWh) | kgCO2e | 155722.648
Length of time period assessed | Used to calculate total electricity consumption for the full case study length | Years | 5 | Total reference scenario emissions across full case study period | Annual Emissions in reference scenario x Length of time period assessed | kgCO2e * Time period (5 years) | kgCO2e | 778613.24
Total consumption
Reference Scenario total Energy Consumption | Extrapolated to account for full test time period | kWh/5 years | 2479660 | Solution Scenario
Solution Scenario total Energy Consumption | Extrapolated to account for full test time period | kWh/5 years | 215720 | Calculation Step | Formula (Written Out) | Dimensional Analysis | Unit | Value
|  |  |  | Annual Emissions in solution scenario | Scenario Annual Electricity Consumption (production & Non-production environments) - measured x Grid Emissions Factor | kWh * Grid EF (kgCO2e/kWh) | kgCO2e | 13547.216
Optional adjustments | Explanation/Notes | Unit | Value | Total solution scenario emissions across full case study period | Annual Emissions in solution scenario x Length of time period assessed | kgCO2e * Time period (5 years) | kgCO2e | 67736.08
Share of IBM LinuxONE power compute used | If full compute power of IBM LinuxONE is not utilised, full lifecycle emissions do not need to be accounted for, as not all embodied emissions are related to compute in the case study. | % | 100%
Grid Emissions Factor (kgCO2e/kWh) | Option to change grid emissions factor to reflect different contexts or years in the assessment | kgCO2e/kWh | 0.314 | First Order Effects - Solution Emissions
Manufacturing emissions (kgCO2e) | Figure calculated by IBM and provided as an overall figure. | kgCO2e | 31100 | Calculation Step2 | Formula (Written Out) | Dimensional Analysis | Unit | Value
Upstream Transportation emissions (kgCO2e) | Figure calculated by IBM and provided as an overall figure. | kgCO2e | 40 | Total lifecycle emissions of the IBM LinuxONE Emperor 5 Max 136 | Manufacturing emissions (kgCO2e) + Upstream Transportation emissions (kgCO2e) + Non-electricity Use-Phase Emissions (kgCO2e) + End of life emissions (kgCO2e) | kgCO2e + kgCO2e + kgCO2e | kgCO2e | 86093.92
Non-electricity Use-Phase Emissions (kgCO2e) | Figure calculated by IBM and provided as an overall figure. | kgCO2e | 54463.92
End of life emissions (kgCO2e) | Figure calculated by IBM and provided as an overall figure. | kgCO2e | 490
Second order effects - avoided emissions
Emission Factors |  |  |  | Calculation Step | Formula (Written Out) | Dimensional Analysis | Unit | Value
Emission Factors tab |  |  |  | Second Order Effects | Total reference scenario emissions across full case study period - Total solution scenario emissions across full case study period | kgCO2e - kgCO2e | kgCO2e | -710877.16
Emission Factor | Notes | Unit | Value
Grid Emissions Factor | Emissions factor may change if optional adjustment is used to consider the solution in different grid contexts | kgCO2e/kWh | 0.314
Net avoided emissions
|  |  |  | Calculation Step | Formula (Written Out) | Dimensional Analysis | Unit | Value
|  |  |  | Net Carbon Impact | Second Order Effects - Total lifecycle emissions of the IBM LinuxONE Emperor 5 Max 136 | kgCO2e - kgCO2e | kgCO2e | -624783.24
|  |  |  | Net Carbon Impact in tonnes of CO2e | Net Carbon Impact / 1000 | kgCO2e/1000 = tCO2e | tCO2e | -624.7832

## Uncertainty Analysis
Uncertainty Analysis
This analysis assesses the uncertainty in the quality of the data inputs.
|  |  | Qualitative Assessment of Data Quality |  |  |  |  | Uncertainty scaling factors |  |  |  |  | Impact of Uncertainty on Net Carbon Impact (kgCO2e)
Data type | Impact effect | Description of effect | Activity | Time | Geography | Reliability | Completeness | Activity | Time | Geography | Reliability | Completeness | SD | Input data | Input data with SD (higher range) | Input data with SD (lower range)
Activity Data | 1st order | IBM LinuxOne LCA | Good | Very Good | Very Good | Very good | Good | 1.2 | 1 | 1 | 1 | 1.05 | 1.2077 | 85603.92 | 103385.8402 | 70880.4137
Activity Data | Reference scenario Energy consumption | x86 server energy consumption | Good | Very Good | Very Good | Good | Good | 1.2 | 1 | 1 | 1.1 | 1.05 | 1.2355 | 2479660 | 3063501.6307 | 2007086.8101
Activity Data | Solution scenario Energy consumption | IBM LinuxOne Energy Consumption | Good | Very Good | Very Good | Good | Good | 1.2 | 1 | 1 | 1.1 | 1.05 | 1.2355 | 215720 | 266511.7685 | 174608.1183
Emission factors | 1st & 2nd order | Grid Emissions Factor | Good | Fair | Very good | Good | Good | 1.2 | 1.2 | 1 | 1.1 | 1.05 | 1.3221 | 0.314 | 0.41513 | 0.23751
Data quality criteria and scoring
Data Quality Criteria | Very Good | Good | Fair | Poor | [5 empty] | Emissions (kgCO2e) | 1st order | IBM LinuxOne LCA |  | 85603.92 | 103385.8402 | 70880.4137
Technological representativeness: Confirm that the data aligns with the technology used in the solution | Data is broken down into all key factors that drive emissions e.g., a complete LCA of each of the solution components | Data is well described at a high level e.g., materials used and weights in each component has been provided | Data is generic e.g., data on similar components has been used | Proxy data only so estimates / assumptions have been used | [6 empty] | Reference scenario Energy consumption | x86 server energy consumption emissions |  | 778613.24 | 1271739.76 | 476700.1839
Temporal representativeness: Assess how old the data is and if it is representative to the solution implementation context | Data used is specific to the case study and covers entire relevant time period | Some data is from other years but more than 50% is from relevant time period | Data is relevant for for less than 50% of time period | Data is not relevant to the time period | [6 empty] | Solution scenario Energy consumption | IBM LinuxOne Energy Consumption emissions |  | 67736.08 | 110636.015 | 41470.9128
Geographical representativeness: Assess whether the data used is specific to the location and context of the solution implementation. | All data used is specific to the geography of the case study implementation context | Some data is from other geographies but more than 50% is specific to the geography of the case study implementation context | Data specific to the geography of the case study implementation context accounts for less than 50% of data | Data is not relevant to the geography of the case study | [6 empty] | Total carbon savings enabled (tCO2e) |  |  | -625.2732 | -1057.7179 | -364.3489
Completeness: Assess whether the data contains all relevant data or whether estimates or assumptions have been used to account for missing data | Full dataset - no missing data / extrapolation | Significant sample / good representation of data period | Small sample / Incomplete coverage, use of reasonable/data backed assumptions to fill data gaps | Small sample / Incomplete coverage / data gaps filled with assumptions not backed by data | [6 empty] | Error values (tCO2e) |  |  | 0 | -432.4447 | -260.9244
Reliability of source: Consider the source of the data and how reliable this is | Primary measured data / Publicly available from an internationally renowned source | Publicly available with transparent high-quality methods / Primary survey data with high-quality methods | Secondary data and proxies that are justified by strong evidence/reliable sources | Secondary data that is not publicly available / from a reliable source
Source: EGDC ICT Methodology
Data Quality Criteria | Very good | Good | Fair | Poor
Reliability | 1 | 1.1 | 1.2 | 1.5
Completeness | 1 | 1.05 | 1.1 | 1.2
Temporal representativeness | 1 | 1.1 | 1.2 | 1.5
Geographical representativeness | 1 | 1.02 | 1.05 | 1.1
Activity representativeness | 1 | 1.2 | 1.5 | 2
Adapted from: Greenhouse Gas Protocol, Quantitative Inventory Uncertainty, https://ghgprotocol.org/sites/default/files/2022-12/Quantitative%20Uncertainty%20Guidance.pdf

## Sensitivity Analysis
Sensitivity Analysis
This analysis aims to show the impact of varying the inputs to the net imapct calculation in different implementation contexts.
Data type | Impact effect | Description of effect | Input data | Unit | % variation of input (lower) | % variation of input (higher) | Input data with SD (higher range) | Input data with SD (lower range) | Net carbon impact (kgCO2e) - higher range | Net carbon impact (kgCO2e) - lower range | Percentage change to net carbon impact - higher range | Percentage change to net carbon impact - lower range | Description of change
activity data | 1st order | IBM LinuxOne LCA | 85603.92 | kgCO2e | -5% | 5% | 81323.724 | 89884.116 | -629553.436 | -620993.044 | 0.7635% | -0.6066% | IBM LinuxOne LCA activity data +5%/-5%
activity data | Reference scenario Energy consumption | x86 server energy consumption | 2479660 | kWh | -5% | 5% | 2355677 | 2603643 | -585852.578 | -663713.902 | -6.231% | 6.231% | x86 server energy consumption activity data +5%/-5%
activity data | Solution scenario Energy consumption | IBM LinuxOne Energy Consumption | 215720 | kWh | -5% | 5% | 204934 | 226506 | -628170.044 | -621396.436 | 0.5421% | -0.5421% | IBM LinuxOne Energy Consumption activity data +5%/-5%
emission factor | 1st & 2nd order | Grid Emissions Factor | 0.314 | kgCO2e/kWh | -5% | 5% | 0.2983 | 0.3297 | -589239.382 | -660327.098 | -5.689% | 5.689% | Grid Emissions Factor emission factor +5%/-5%

## Raw Data Electricity
Raw Data - Electricity
Source: COLT-AHU-ReferenceVsActual_RAW
The consumption source for the reference and solution scenario is the file “Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx” The total energy consumption used in the calculator for the reference includes actual performance measurement tests performed by the IBM team on a comparable x86 environment, with 128 cores on 6 servers. The final analysis included non-production environments and the whole solution was scaled 126 x86 servers with 5,376 cores. The total energy from the solution scenario is also from actual measurements from tests performed by IBM. The test environment for LinuxONE 5 simulated production environment with 16 Cores. The final analysis included non-production environments and the whole solution was scaled to 136 LinuxONE 5 cores, which represents the full number of cores available on the IBM LinuxOne Emperor 5 Max 136 model used in the study.
Reference scenario emissions
Data from before the solution was implemented
Description: In the reference scenario, computer workloads operate in an x86 environment on 126 older servers, occupying data center space and consuming typical server energy consumption.
| Data | Value | Unit (e.g. m², kWh/year etc.) | Source | Comment
| Baseline Energy Consumption | 495932 | kWh/year | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Energy consumption of the whole environment (production and non-production environments) of 126 x86 servers with 5,376 cores
| Time Period of Data Collection | 5 | years | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Assessment timeframe of 5 years in both the reference and solution scenario
| Number of server cores used | 5376 | Cores | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Provided by IBM - Number of cores used in energy consumption testing
Solution scenario emissions
Data from after the solution was implemented
Description of solution scenario: In the solution scenario, computer workloads operate in an IBM LinuxOne Emperor 5 enviroment with 136 cores to achieve more efficient energy consumption.
| Data | Value | Unit (e.g. m², kWh/year etc.) | Source | Comment
| Solution Energy Consumption | 43144 | kWh/year | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Energy consumption of the whole environment (production and non-production environments) of 136 LinuxOne 5 cores
| Time Period of Data Collection | 5 | years | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Assessment timeframe of 5 years in both the reference and solution scenario
| Number of server cores used | 136 | Cores | Filled Copy of Data request form - IBM LinuxOne (jka) v01.23.xlsx | Provided by IBM - Number of cores used in energy consumption testing

## First Order Effects
First Order Effects
KEY
Data input
Calculation
Embodied Emissions
Lifecycle Phase | Units | Emissions | Comments | Source file
Manufacturing | kgCO2e | 31100 | Provided by IBM. The carbon footprint data was calculated using the online tool: IBM Systems Environment Estimator | Carbon footprint of LinuxONE 5 case study system.docx
Transportation | kgCO2e | 40 | Provided by IBM. The carbon footprint data was calculated using the online tool: IBM Systems Environment Estimator | Carbon footprint of LinuxONE 5 case study system.docx
Use-phase | kgCO2e | 122200 | Provided by IBM. The carbon footprint data was calculated using the online tool: IBM Systems Environment Estimator | Carbon footprint of LinuxONE 5 case study system.docx
Non-electricity Use-phase | kgCO2e | 54463.92 | This has been calculated by subtracting calculated reference scenario emissions from the overall use-phase emissions as calculated by IBM using the system estimator tool | Carbon footprint of LinuxONE 5 case study system.docx
End of Life | kgCO2e | 490 | Provided by IBM. The carbon footprint data was calculated using the online tool: IBM Systems Environment Estimator | Carbon footprint of LinuxONE 5 case study system.docx
Total System | tCO2e | 208.2939 | Provided by IBM. The carbon footprint data was calculated using the online tool: IBM Systems Environment Estimator | Carbon footprint of LinuxONE 5 case study system.docx

## Emission Factors
Emission Factors
Country | Grid Region | Carbon emission factor electricity grid (kg CO2e/kWh) | Source | Comments
United States of America | NYUP | 0.314 | New York ISO - NYISO ¦ Electricity Maps | The electricity emissions factor source used by IBM in their calculations, the electricity emissions factor is the average for calendar year 2025. It calculates a specific regional emissions factor using fleet-level generation data (fuel type, output, heat rates); accounts for electricity import and export; accounts for T&D losses based on regional loss factors; and calculates upstream emissions for specific generation fuel sources using IEA Life-cycle Upstream factors. The carbon intensity figure shown includes: 1. Direct emissions from electricity generation (CO₂, CH₄, N₂O at the power plant) 2. Upstream fuel‑cycle emissions (e.g. fuel extraction, processing, transport) 3. Electricity trade adjustments (imports/exports via flow‑tracing) 4. Transmission & distribution losses, where data is available Full methodology source file: https://cdn.prod.website-files.com/63c7ac359aace771742ca44e/67dab510ee4e86116ebc1899_Electricity%20Maps%20emission%20factor%20methodology%20-%20Published%20version%2C%2020240319%20%281%29.pdf